## Group A Results
THE RESULTS FROM POTABLE WATER ANALYSIS ARE COLLECTED ON THIS TABLE
MEASUREMENT RESULTS
PLEASE, DO NOT CHANGE THE TABLES
DATE | 2019-01-11
ADD FIRST NAMES OF THE TEAM MEMBERS AND SAMPLES TO AVOID MIXING UP THE RESULTS!!
TEAM 1 |  | TEAM 2 |  | TEAM 3 |  | TEAM 4
NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE
CONDUCTIVITY
[5 empty] | pH before adjustment | acid/base addition |  |  | pH after adjustment
Sample | UV254 | turbidity, FNU | CODMn | Fe (micrograms/l) |  | volume (mL) | acid or base | concentration (mmol/l)
Raw water | 1.587 | 3.95 |  | 169.983
0.4 | 1.696 | 3.22 | 9.69 | 1466.52 |  | 1.65 | H2SO4 | 20
0.6 | 1.691 | 3.8 | 12.4 | 1916.475 | 6.75 | 1.5 | H2SO4 | 20 | 5.13
0.7 | 1.841 | 4 | 12.1595 | 0,54 abs (too high to calculate) | 6.6 | 1.4 | H2SO4 | 20 | 5.05
0.8 | 0.198 | 0.523 | 7.16 | 156.651 |  | 1.5 | H2SO4 | 20
1 | 0.168 | 0.12 | 8.719 | 103.323 | 6.6 | 1.35 | H2SO4 | 20 | 5.04
1.2 | 0.14 | 0.27 | 8.6 | 110 | 6.38 | 1.26 | H2SO4 | 20 | 4.95
Sources of error:
KMnO4 values likely need to be divided by factor of 10 for all bu 0,8 PIX sample and raw water
Note on C23: Myers Shanna: FNU on turbidimeter last year
Note on E27: Labra: not diluted, too high to read
Note on B28: Myers Shanna: unclear if 9 or other number

## Group C Results
THE RESULTS FROM POTABLE WATER ANALYSIS ARE COLLECTED ON THIS TABLE
MEASUREMENT RESULTS
PLEASE, DO NOT CHANGE THE TABLES
DATE | 2019-01-14
ADD FIRST NAMES OF THE TEAM MEMBERS AND SAMPLES TO AVOID MIXING UP THE RESULTS!!
TEAM 1 |  | TEAM 2 |  | TEAM 3 |  | TEAM 4
NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE
Kiia | 0.7 | Esra | 0.6 | Huy Nguyen | 0.4
Eva | 1.2 | Artem | 1 | Chao Peng | 0.8
CONDUCTIVITY
[5 empty] | pH before adjustment | acid/base addition |  |  | pH after adjustment
Sample | UV254 | turbidity, FNU | CODMn | Fe (micrograms/l) |  | volume | acid or base | concentration
Raw water | 1.497 | 3.5 | 7.04 | 236.64 | 6.8
0.4 | 1.314 | 3.57 | 67 | 1630 | 6.8 | 1,6mL/100mL | H2SO4 | 20mmol/L | 4.92
0.6 | 1.447 | 4.3 | 10.16 | 2233.11 | 6.8 | 1.55 | H2SO4 | 20mmol/L | 4.94
0.7 | 1.173 | 3.3 | 13.8 | 0,52 abs (too high to calculate) | 6.24 | 1.4 | H2SO4 | 20mmol/L | 5
0.8 | 0.225 | 0.7 | 12 | 363 | 6.48 | 1,5mL/100mL | H2SO4 | 20mmol/L | 4.77
1 | 0.158 | 0.236 | 5.12 | 393.294 | 6.77 | 1.35 | H2SO4 | 20mmol/L | 5
1.2 | 0.15 | 0.34 | 9.6 | 260 | 6.43 | 1.2 | H2SO4 | 20mmol/L | 5
Sources of error:
Samples 0,6 and 1,0 have been mixed in the amount of acid added: 0,6 sample should have had 3,1 ml of H2SO4 but 2,7 was added. And 1,0 sample should have had 2,7 ml of H2SO4. But this did not affect the final results significatnly, since the final pH of 0,6 and 1,0 samples are so close (4,94 and 5 respectively) and PIX adding was done correctly (according to the factor).
Note on C23: Myers Shanna: FNU on turbidimeter last year

## Group B Results
THE RESULTS FROM POTABLE WATER ANALYSIS ARE COLLECTED ON THIS TABLE
MEASUREMENT RESULTS
PLEASE, DO NOT CHANGE THE TABLES
DATE | 2019-01-16
ADD FIRST NAMES OF THE TEAM MEMBERS AND SAMPLES TO AVOID MIXING UP THE RESULTS!!
TEAM 1 |  | TEAM 2 |  | TEAM 3 |  | TEAM 4
NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE | NAMES | SAMPLE
Alexis Awaitey | 0.7 | Patricia Schmitz | 0.6 | Ha Nguyen | 0.4
Tobias Görner | 1.2 | Henna Jylhä | 1 | Anne Kuulas | 0.8
Shahid Sarfraz |  | Anika Springer |  | Franca Dömer
CONDUCTIVITY
[5 empty] | pH before adjustment | acid/base addition |  |  | pH after adjustment
Sample | UV254 | turbidity, FNU | CODMn | Fe |  | volume | acid or base | concentration
Raw water | 1.474 | 3.4 |  | 243.309
0.4 | 1.651 | 3.12 | 12 | 1516,515 (5 times dilution); 1599,84 (10 times dilution) | 6.71 | 1.6 | acid | 20 mmol/l | 4.81
0.6 | 0.21 | 3.2 | 14.72 | 1766.49 | 7.09 | 1.5 | acid | 20 mmol/l | 4.88
0.7 | 0.284 | 0.992 | 11.8 | 299.97 | 6.68 | 1.5 | acid | 20 mmol/l | 4.96
0.8 | 0.256 | 0.122 | 7.64 | 239.976 | 6.2 | 1.4 | acid | 20 mmol/l | 4.79
1 | 0.34 | 1.13 | 13.68 | 136.653 | 7.09 | 1.3 | acid | 20 mmol/l | 5.02
1.2 | 0.197 | 0.325 | 6.12 | 776.59 | 6.5 | 1.3 | acid | 20 mmol/l | 4.87
Sources of error:
the red marked number can be wrong. We did not have enough sample to use in the machine, so the light got trough.
Note on C23: Myers Shanna: FNU on turbidimeter last year