## Slide 1: Supergrids

## Slide 2: Supergrids
Tero Ruotsalainen, Diwakar Gupta-41
17.3.2020

## Slide 3: Introduction
Started from JFK idea using new technology HVDC from Sweden (GE & ASEA) 1970
Part of Smart grid as (Mega grid, Superior Grid), DC
Better than the existing grid in terms of efficiency
Excludes district heating and cooling on the contrary to Smart grid
Notes: concept origin from 1960 also Nikola Tesla thought about it

## Slide 4: Worlwide layout of supergrids
Worldwide electricity transmission network
Large infrastructure and constructing by parts and connecting them at the end of projects
Gathering up energy potential
Notes: DIWAKA

## Slide 5: Europe and North America interconnection
Interconnections with or without Smart grid

## Slide 6: Challenges
High investment costs including profits in the future
Constructing requires energy and electricity (temporarily)
Opposing attitudes of environmental organisations
‘Not in my backyard’ thinking
Finance from clean tech investors, traders and countries and political support needed

## Slide 7: Benefits
Better, cleaner and more efficient electrified infrastructure (CleanTech) with large volume benefits
Cheaper, especially in the future
Cost efficient climate change tackling
Effective interconnectivity and bottlenecks removal

## Slide 8: Possible Supergrids topology
  A Transmission line replaced with DC circuit with two-three converter to deliver PWM signal
  Several of converter stations required Multi-terminal modular converter
  DC grid
    Meshed DC system with many connections
    to the AC grid
    The only “real” grid out of the three
    If redundancy required, only viable solution
Notes: ‘Currently there are three main VSC HVDC technologies which each use a different concept to achieve a similar result.
One concept uses a 2 or 3-level converter to deliver a PWM signal [9],
while the other concept uses a multilevel modular converter [10].
The third method is a hybrid type multilevel converter[11].
Althoughconceptuallydifferent,theiroperation in the power system differs little.’

## Slide 9: AC vs DC
AC grid not support an offshore DC supergrids
Frequency harmonization possible
Most efficient in long distances, skin effect and corona are lower so low loss
Better voltage regulation and greater controllability
Cheaper with less material, because supporting tower size to be smaller with less conductor

## Slide 10: Day rhythm consumption peaks (solar) Renewable sources in Europe, fossil exit

## Slide 11: Area allocation in Europe almost as in former system

## Slide 12: Former grid vs Smart grid
Former from up- to downstream
Future two-way stream

## Slide 13: Grid synchronization as one global area, coupling
Technicality details and cooperations

## Slide 14: Voltage harmonization, Supergrid in Finland

## Slide 15: Conclusion
Smart Grid is needed and coming soon
Supergrids perhaps necessary in Smart grid to balance and quality power system maintaining,
as radial apposition with Smart Grid

## Slide 16: Thank you

## Slide 17: Reference
https://www.altenergymag.com/article/2015/02/super-gridrenewable-energy-from-remote-sites-to-cities-projects-and-challenges/1559/
https://www.sciencedirect.com/science/article/pii/S0959652618307522
https://ieeexplore.ieee.org/stamp/stamp.jsp?tp=&arnumber=5771696
https://www.iotworldtoday.com/2019/11/12/satellite-iot-applications-could-multiply/
https://static.guim.co.uk/sys-images/Guardian/Pix/pictures/2012/5/21/1337604739018/Whole-Earth-exhibition-001.jpg
https://supernode.energy/future-insight-blog-2-introduction-to-the-supergrid/
https://en.wikipedia.org/wiki/Smart_grid
https://www.cesi.it/views/supergrid-vs-distributed-generation/
https://www.reddit.com/r/electricians/comments/bd3wii/worldwide_voltage_usage_infograph/
https://www.fingridlehti.fi/fingrid-nimesi-paasiirtolinjat-suomi-100-hengessa/