## Slide 1: ELEC-E8423 - Smart Grid DR limitations set by human comfort requirements. Heat gains, heating and cooling, and demand flexibility
Markus Flyktman
Laura Remes
31.3.2020

## Slide 2: Introduction
Demand response = Shifting non-critical loads to better match power production
  Aims to increase flexibility in the power system
DR potential in heating & cooling as the biggest energy consumers
Development traditionally technology driven
  Trade-off between energy saving and human comfort?
DR concerning heating and cooling is challenging
  Different people have differing thermal comfort requirements
The willingness of people to DR and how to increase it

## Slide 3: Electricity consumption in typical households
Pie chart of electricity consumption
Data from https://www.vattenfall.fi/energianeuvonta/sahkonkulutus/
Electrically heated household, 18 480 kWh/a
District heated household, 4 000 kWh/a

## Slide 4: Categorization of DR applications
(Smale, et. al., 2017)

## Slide 5: Problems with DR concerning heating & cooling 1/2
Picture on top: https://www.tiede.fi/artikkeli/uutiset/viilea-toimisto-jahmettaa-naisten-tuottavuutta?fbclid=IwAR3_vsZ_QAuAhEJxbRUbTzq6oPtQS4ZgK0YULW_m13gF71tO4-72676k6dl
Picture on bottom: https://dlpng.com/png/1416214
Multiple factors effect on which temperature range is considered comfortable
  Physical features: age, sex, height, weight, body composition
    Older people prefer higher temperature than younger people (Schellen, et. al., 2010) & the proportion of elderly in Finland is growing -> Temperature cannot be lowered too much for DR or it becomes uncomfortable for elderly and may increase their morbidity (Collins, 1986; Nicol & Rudge, 2000)
    Temperature cannot be too high either for elderly or that would also increase their morbidity (Loenhout, et. al., 2016) -> Cooling cannot be off during hot summer days (global warming effect) for demand flexibility
    For women temperature has to be higher than for men in order for their cognitive performance to function properly (Chang & Kajackaite, 2019) -> Temperature cannot be lowered too much for demand flexibility or it increases inequality between sexes
    For men on the other hand, temperature cannot be too high in order for their cognitive performance to function properly (Chang & Kajackaite, 2019) -> Cooling cannot be turned off during hot summer days

## Slide 6: Problems with DR concerning heating & cooling 2/2
Picture on top: https://www.careeraddict.com/top-10-habits-that-make-you-rich
Picture on bottom: https://www.shutterstock.com/fr/video/clip-5182670-man-outdoor-sofa-homeless-blanket-cold-poor
  Other human factors: health situation, clothing (Schiavon & Lee, 2013)
  Other TBS (Technological Building Systems) factors
    air flow of air-conditioning system - feeling of draft (Toftum, et. al., 2003)
    colour temperature of lighting - warmer lighting gives the impression of higher temperature than colder colour temperature (Ho, et. al., 2014)
There is a risk of inequality between wealthier and poorer people, if temperature is a part of the demand flexibility, and it could deteriorate health and increase morbidity of the poorer people (Santamouris, et. al., 2014)
All the aspects already mentioned create limits for demand flexibility and demand response, because of human comfort requirements
It is not just about energy, but even more about humans and equality

## Slide 7: The solution might be HVAC zoning
https://www.servicechampions.net/blog/how-does-a-zoned-heatingcooling-system-work/
There are always temperature differences in buildings due to many reasons and temperature fluctuations prevent from having uniform heating or cooling (Sandium, 2020)
Traditional VS. zoning in HVAC
  Traditional HVAC systems try to fight against the fluctuations (Sandium, 2020)
  HVAC zoning systems work with the fluctuations (Sandium, 2020)
HVAC zoning makes it possible to have different heating and/or cooling in different parts/zones/rooms in the building
  Possibility to save energy in the parts/zones/rooms, which are unoccupied
  Energy savings up to 45 % (Zavala, et. al., 2011)
  Possibility to heat/cool rooms based on users’ preferences (Sandium, 2020)
HVAC zoning is an ideal to demand flexibility and demand response (Young, et. al., 2015)

## Slide 8: The willingness of people to DR
In EDES project 2110 private electricity consumers were interviewed about their attitudes and willingness to demand flexibility and DR (Immonen, et. al., 2019)
As it is shown in the pie chart, 57,50 % of electricity consumers had a positive attitude towards demand flexibility (Immonen, et. al., 2019)
Problematic group is the people who had reservations or negative attitude towards demand flexibility and they make together 42,50 % (Immonen, et. al., 2019)
There is clearly willingness towards demand flexibility and DR, but still a lot of people to convince about the benefits of demand flexibility and DR

## Slide 9: How to increase the willingness of people to DR and avoid inequality
Climate change
Because of climate change, changing to renewable energy sources is advanced
Over half (52 %) of the private electricity consumers wants to see positive impact on the environment when considering demand flexibility (Immonen, et. al., 2019)
Some kind of demand flexibility and DR are needed and wanted for the fight against the climate change
Comfort
The energy saving potential of DR implementation has to date been emphasized more than the impact on occupant thermal comfort, which would appeal more to consumers
Increase in comfort could change negative attitudes (42,5 %) towards demand flexibility and DR to positive
DR should be managed without adversely impacting the occupant thermal comfort and their perceptions of the indoor environment.
Energy savings
Should be done in a way that it does not increase inequality, but mainly benefits all of the people
Electrical companies have a big impact on how it will be implemented and how much of the cost is passed on to consumers
Political will to fight against inequality is needed

## Slide 10: Conclusions
Human comfort, wellbeing and health requirements create limitations to DR
On top of being a climate issue, DR is also an equality issue and should be regarded as such
Before widespread DR transition all of the limitations and possible negative impacts on humans should be thoroughly investigated

## Slide 11: Source material used 1/2
Chang TY, Kajackaite A (2019) Battle for the thermostat: Gender and the effect of temperature on cognitive performance. PLoS ONE 14(5): e0216362. https://doi.org/10.1371/journal.pone.0216362
Collins KJ (1986) Low Indoor Temperatures and Morbidity in the Elderly, Age and Ageing 15(4), p. 212–220, https://doi.org/10.1093/ageing/15.4.212
Ho H-N, Van Doorn GH, Kawabe T, Watanabe J, Spence C (2014) Colour-Temperature Correspondences: When Reactions to Thermal Stimuli Are Influenced by Colour. Plos One, 9(3). DOI: 10.1371/journal.pone.0091854
Immonen A, Kiljander J, Aro M (2019) Consumer viewpoint on a new kind of energy market. Electric Power Systems Research, 180. https://doi.org/10.1016/j.epsr.2019.106153
Nicol F, Rudge J (2000) Cutting the Cost of Cold: Affordable Warmth for Healthier Homes. London: Spon Press.
Sandium (2020) HVAC Zoning Systen: A Short Guide. Retrieved from HVAC Technology: https://sandium.com/hvac-technology/hvac-zoning-system-a-short-guide.html
Santamouris M, Alevizos SM, Aslanoglou L, Mantzios D, Milonas P, Sarelli I, Karatasou S, Cartalis K, Paravantis JA (2014) Freezing the poor - Indoor environmental quality in low and very low income households during the winter period in Athens. Energy and Buildings 70, p. 61-70. https://doi.org/10.1016/j.enbuild.2013.11.074

## Slide 12: Source material used 2/2
Schellen L, Van Marken Lichtenbelt WD, Loomans MG, Toftum J, De Wit MH (2010) Differences between young adults and elderly in thermal comfort, productivity, and thermal physiology in response to a moderate temperature drift and steady-state condition. Indoor Air 20(4), p. 273-283. https://doi.org/10.1111/j.1600-0668.2010.00657.x
Schiavon S, Lee KH (2013) Dynamic predictive clothing insulation models based on outdoor air and indoor operative temperatures. Building and Environment 59, p. 250-260. https://doi.org/10.1016/j.buildenv.2012.08.024
Smale R, van Vliet B, Spaargaren G (2017) When social practices meet smart grids: Flexibility, grid management, and domestic consumption in The Netherlands, Energy Research & Social Science 34, p. 132-140. https://doi.org/10.1016/j.erss.2017.06.037.
Toftum J, Melikov A, Tynel A, Bruzda M, Fanger PO (2003) Human Response to Air-Movement - Evaluation of ASHRAE’s Draft Criteria (RP-843). HVAC&R Research, 9(2), p. 187-202. DOI: 10.1080/10789669.2003.10391064
Young ML, Horesh R, Liberti L (2015) Optimal HVAC control as demand response with on-site energy. Energy Prodecia, 78, p. 2106-2111. https://doi.org/10.1016/j.egypro.2015.11.253
Vattenfall (2020) Kodin sähkönkulutus. Retrieved 19.3.2020 from: https://www.vattenfall.fi/energianeuvonta/sahkonkulutus/,
Zavala VM, Skow D, Celinski T, Dickinson P (2011) Techno-Economic Evaluation of a Next-Generation Building Energy Management System. Technical Report ANL/MCS-TM-313, Argonne National Laboratory.