## Slide 1: Solar power generation variation and its modeling
Mikael Opas
Juhana Luomanen

## Slide 2: Introduction
Solar radiation
Solar cell technology
Variables in solar generation
Modeling and estimating variations

## Slide 3: Solar radiation
Solar power causes variations in grid
Local conditions, panels used
Amount of sunlight intermittent
Variations in solar generation a danger to grid stability
High variability -> estimates and models
  Based on historical data
  Short-term forecasts
  Long-term forecasts

## Slide 4: Solar cell technology
Solar cells can be modeled with simple equivalent circuit
  Jph from solar radiation
  Jd, Rsh, Rs from solar cell properties
Power production follows I-V curve
  Isc, Voc and Pmax depend on ambient temperature
For modeling, variables needed are solar irradiation and ambient temperature

## Slide 5: Variables in solar power generation
Solar irradiance on the panel varies
  Temperature, weather
  Panel condition and properties
  Angle between sun and module position
  Form of radiation (direct, diffuse, reflected)
Solar-radiation components (Courtesy ofAl Hicks, NREL.)

## Slide 6: Modeling solar power generation
In long-term forecasting, models calculating average solar radiation on a panel over a time period are commonly used
Models depend on
    astronomical data (Sun declination, Earth-Sun distance),
    surface data (elevation, surface shape),
    climate data (duration of solar radiation, transmission coefficients)
Models based on historical measurements of solar radiation in specific locations are also used

## Slide 7: Modeling solar power generation
Short-term forecasting focused on smaller timescales and local conditions
  Cloud cover
  Time of day
  Ambient temperature
  Heavily reliant on weather data
  More area-specific

## Slide 8: Conclusions
Solar radiation energy data and models are important
    Research
    Panel placement locations
    Forecasts for power production
Power generation is mainly dependent on
    Solar radiation,
    Temperature of the solar cell
    Technical properties
Accurate forecasts are important
    Planning for stability of power grid

## Slide 9: Sources
V. Femin, M.I. Petra. 2016. Modeling the temporal variations in the output of large solar PV power plant
Sharika, Wathmini & Fernando, Lakchani & Kanagasundaram, Ahilan & Valluvan, Ragupathyraj & Kaneswaran, Anantharajah. (2018). Long-term Solar Irradiance Forecasting Approaches - A Comparative Study.
Emre Akarslan, Fatih Onur Hocaoglu, Rifat Edizkan. 2018. Novel short term solar irradiance forecasting models
Lalit Kumar, Andrew K. Skidmore. 1997. Modelling topographic variation in solar radiation in a GIS environment.