## Slide 2: How much would you be willing to pay to not have your morning coffee?

## Slide 3: ELEC-E8423 - Smart Grid DR limitations set by human comfort requirements. Heat gains, heating and cooling, and demand flexibility
Emmi Kosomaa & Anton Närekorpi
16.4.2019

## Slide 4: Introduction
Traditionally:
“Technology enables demand response”
But is there a conflict between technological efforts and human comfort?
Human comfort
Technological requirements
If the wind fails to blow, would households be willing to go to bed in the dark? Forego cooked breakfast and coffee?
“
(Smale et al., 2017)

## Slide 5: A short reminder of demand response
Buildings responsible for 40% of world’s total energy use
  heating, cooling and refrigeration responsible for 50% of this
Especially high demand buildings good for demand response
District heating/cooling
Electrical heating/cooling
Demand Response
= shifting non-critical loads to off peak hours
(Lawrence et al., 2016)

## Slide 6: Human behaviour sets limits to DR
3 different ways to use load (heating or electricity):
Time critical
Not time critical
Continuous
Understanding human habits is crucial when considering shifting heat usage
Going to shower every morning
At least +21C room temperature in the living room
Who is willing to change their family dinner eating pattern just because electricity spot prices?
(Smale et al., 2017)

## Slide 7: How can we alter the limitations?
Money
People are willing to sacrifice a little of their comfort in exchange of money
However: people are not rational decision makers that try to maximize their monetary income - should be done by machines!
Comfort
If the DR is managed and the same time comfort level is increased: easy decision
DR is possible without any loss to comfort levels
(Kärkkäinen et al., 2003)

## Slide 8: The use of the building affects the human requirements
Different building types, owners and usage:
Residential:
  Comfort, cozyness, low effort…
  Varies a lot
Office:
  Previously: stable comfort levels
  In the future: flexibility, (energy) efficiency, innovative environment…?
Commercial:
  Cost, environmental responsibility as main factors?
(Skanska, 2012)
Location as a factor
→ Heat gain, culture

## Slide 9: Conclusions
Implementing DR isn’t possible without considering human factors
Human factors depend on multiple attributes: User, building type, usage, ownership...
Customers value money and comfort levels more than the technology itself

## Slide 10: Source material used
Smale et al. 2017. When social practices meet smart grids: Flexibility, grid management, and domestic consumption in The Netherlands. Energy Research & Social Science. Volume 34, December 2017, Pages 132-140. DOI: https://doi.org/10.1016/j.erss.2017.06.037.
Lawrence et al., 2016, Ten questions concerning integrating smart buildings into the smart grid, Building and Environment. Volume 108, November 2016, pp. 273-283. DOI: https://doi.org/10.1016/j.buildenv.2016.08.022
Kärkkäinen et al. 2003. Demand side management of the district heating systems. VTT. Web publishment. Cited 15.4.2019. Available: https://www.vtt.fi/inf/pdf/tiedotteet/2004/T2247.pdf.
Skanska. 2012. Tulevaisuuden Työympäristö -barometri 2012: Toimitiloilta vaaditaan tehokkuutta, joustavuutta ja ympäristövastuullisuutta. Press release. Cited 15.4.2019. Available: https://www.skanska.fi/tietoa-skanskasta/media/uutiset/50696/Tulevaisuuden-Tyoymparisto-barometri-2012-Toimitiloilta-vaaditaan-tehokkuutta%2C-joustavuutta-ja-ymparistovastuullisuutta.

## Slide 11
Thank you for your attention!