## Slide 1: ELEC-E8423 - Smart Grid Battery Energy Storage Systems
Henri Selenius
Joonas Hurtta
05.03.2019
Notes: Introduction: define broad scope of the presentation and explain the key terms
Body: Max 6 slides presenting the key points, give enough information that the key ideas can be understood without further materials
Conclusions: List three most important key points of presentation here

## Slide 2: Introduction: Why BESS is needed?
Electrical power generation is changing around the world due to the increasing share of renewable energy sources (RES).
The variable nature of RES makes its difficult to match generation with demand, posing a threat to the stability of the system.
BESS can be used to minimize the impact on the power system
Notes: The Duck Curve
Net load = gross load – RE power (wind, solar)
shows the timing imbalance between peak demand and renewable energy production

## Slide 3: Storage technologies

## Slide 4: Benefits of BESS
Balancing of electricity grid is easier and faster
More flexible and reliable grid
Maintain the frequency of grid
Store renewable energy effectively and release it quickly
More predictable and smoother power supply
Improve power quality and reduce costs of energy
Encourage for local production
Notes: Balancing of electricity grid is much easier and faster
Enables more flexible and reliable grid
Maintain the frequency of grid in desired level prevent interruptions and breaks in distribution systems
BESS enables for frequency control extremely fast reaction time and flexible modification of the control curves
Store renewable energy effectively and release it quikly into the grid
Makes power supply smoother and more predictable
The energy stored in batteries can be used times of peak demand, when the electricity demand is higher
Traditional reserve power supplies reaction time can be tens of seconds, while the reaction time of BESS to achieve full power is few hundreds of milliseconds
Improve power quality and reduce costs of energy
Encourage for local production

## Slide 5: Role of BESS in power systems
Renewable integration: Helps the power system to deal with the intermittent nature of wind and solar, allowing increased penetration of RES in the power system.
Peak load shaving: BESS can be charged when the electricity prices are the lowest and discharged when the prices are highest (smoothing customer load).
Frequency regulation: BESS can respond quickly to frequency deviations, yielding financial savings for TSOs
Other reserve functions, such as:
  Voltage regulation: BESS can support voltage levels in power distribution systems
  Transmission relief: BESS can ”increase” transmission line capacity during peak hours by supporting local loads

## Slide 6: BESS architecture
A BESS is comprised of the following major components:
  Battery pack A number of cells connected in serial or parallel arrangement.
  Battery Management System (BMS) Protects, monitors and controls the battery and reports battery data.
  Power Conversion System (inverter) Interfaces the DC battery system to the AC power system.
  Power Plant Controller Supervises and controls the whole system
The PCS and Plant Controller are just as important to the BESS as the battery.

## Slide 7: Battery & PV price development

## Slide 8: Comparison of prices
Current situation
Korea Zinc – Hyundai (BESS)
  150 MWh - 40 M€
  Unit price per kWh 260€
Neoen – Tesla Inc (BESS)
  100 MW / 129 MWh - 58 M€
  Unit price per kWh 450 €
Tesla Powerwall (for home usage)
  7 kW / 13.5 kWh - 6700 $
  Unit price per kWh 500 $ (440 €)
In future (after 10-20 years)
Total price of 10 kWh battery is 1500 $
Unit price per kWh 150 $ (132 €)
We can assume that after 10-20 years batteries may increase LCOE value even 100-150 €/MWh
Notes: LCOE = levelized cost of energy
Measures lifetime costs divided by energy production
Calculates present value of the total cost of building and operating a power plant over an assumed lifetime.
Allows the comparison of different technologies (e.g., wind, solar, natural gas) of unequal life spans, project size, different capital cost, risk, return, and capacities

## Slide 9: Current projects in Finland and Nordics
Fortum Forshuvud battery (Autumn 2018)
Power 5 MW, capacity 6.2 MWh, price of the project 3 M€
Shopping center Sello electricity storage (Autumn 2018)
Power 2 MW, capacity 2.1 MWh, price of the project x
Fortum Batcave Järvenpää (March 2017)
Power 2 MW, capacity 1 MWh, price of the project 1.5 M€
Helen suvilahti electricity storage (March 2016)
Power 1.2 MW, capacity 600 kWh, price of the project 2 M€

## Slide 10: Current and upcoming large projects in world
Project Company | Battery material | Power and capacity | Price of the project | Location
Dalian VFB - UET / Rongke Power | Vanadium redox flow | 200 MW 800 MWh 4 hours |  | China Liaoning, Dalian
Hyundai & Korea Zinc energy storage system | Lithium-ion | 150 MWh | ~40 M€ | South Korea Ulsan
NEC Energy Solutions EnspireME | Lithium-ion | 48 MW 50 MWh | ”Less than 100 M€”, estimated 40 M€ | Germany Jardelund
Neoen - Tesla Inc | Lithium-ion | 100 MW 129 MWh | 58 M€ (saved 35 M€ during first year) | Australia Near Jamestown
Tesla (Owned by PG&E), Vistra Energy Corp, Hummingbird Energy Storage LLC, Micronoc | Lithium-ion | Four separate BESS projects 183 MW, 300 MW, 75 MW, 10 MW. Total = 568 MW |  | USA California

## Slide 11: Conclusions
BESS is needed to fully integrate RES into the power system. It is a solution to dealing with the intermittent nature of RES.
BESS can support the power system with peak load shaving and frequency regulation. It can also act as a reserve plant.
The price of batteries has decreased steadily in the last years, making BESS a strong contender to mechanical storage technologies (hydro and air).

## Slide 12: Source materials used
https://ieeexplore-ieee-org.libproxy.aalto.fi/document/8315940
https://ieeexplore-ieee-org.libproxy.aalto.fi/document/6811152
https://www.tekniikkatalous.fi/tekniikka/energia/pohjoismaiden-suurin-akku-on-nyt-jo-5-mw-kehitysta-ajaa-tavoite-siirtya-100-uusiutuviin-6749225
http://www.uetechnologies.com/news/72-unienergy-technologies-strategic-partner-to-deliver-world-s-largest-battery
http://www.climateaction.org/news/hyundai-electric-to-break-the-record-for-worlds-largest-battery
https://www.energy-storage.news/news/50mwh-battery-completed-in-germany-claims-europes-largest-crown
https://www.weforum.org/agenda/2018/11/california-will-replace-gas-power-plants-with-the-worlds-largest-battery-system/
https://tem.fi/documents/1410877/2772829/332_2017_Tulevaisuuden+energia_2030_2050.pdf/4f1c0ec0-58fc-4c1c-9297-7f90ac01615b
http://www.diva-portal.org/smash/get/diva2:1254196/FULLTEXT01.pdf
http://www.diva-portal.org/smash/get/diva2:1254196/FULLTEXT01.pdf
www.caiso.com/Documents/FlexibleResourcesHelpRenewables_FastFacts.pdf