## Slide 1: ELEC-E8423 - Smart Grid Power and Energy Balance Management in Microgrids
Arslan Ahmad Bashir
Student No. 463896
02.04.2019

## Slide 2: Introduction
This presentation discusses how to maintain demand and supply balance in a microgrid (MG) under high level of uncertainty and also quantifies the benefit of the grid-interconnection. The Key features include the following:
Detailed uncertainty modelling for both the load and generation
Reliability of MG components
Demand response of flexible residential loads
Preserve the comfort levels of individual households
Bidirectional power exchanges with the grid following electricity spot prices
Medium term study period

## Slide 3: What is a Microgrid?
A low voltage distribution network consisting of distributed generation mainly renewable energy sources (RESs), storage devices and flexible loads that can operate both in islanded and grid-connected mode’.
MG is an efficient example of aggregation of resources which can offer many services to the grid such as:
Resiliency against outages
Voltage support
Balancing services
Risk minimization (especially failure to market commitments)

## Slide 4: Components of a microgrid
A controller / aggregator / Manager
Generation
Photo-voltaic system
Wind farm
Conventional generators
Controllable Loads:
Space heating / cooling loads
Domestic hot water
Electric vehicles
Thermal storage
Critical loads (illumination and
appliances etc.)
Home energy management system (HEMS)

## Slide 5: Uncertainty Modelling
Sources: Temperature, Solar irradiation and
wind speed
Reactive approach:
Rolling horizon forecasting
Prediction Horizon (24 hours)
Control Horizon (1 or 2 hours)
Scheduling Horizon
Proactive approach:
Stochastic programming
A finite number of deterministic problems
With known probabilities are solved
simultaneously. The distribution of the
parameter is already known or assumed.

## Slide 6: DR Framework
The flexibility offered by HVAC and electric water heater (EWH) loads while exploiting building thermal masses are explored.
The fundamental reason for selecting these loads is:
Their highest contribution to the annual residential energy consumption of countries in the Nordic region.
Their operation is tied to the temperature only.
These loads coincide with the Finnish peak load periods.
User comfort is a function of temperature dead-band only.

## Slide 7: Objective of a MG aggregator
Power system operation planning is an optimization problem. The objective is to minimize the total operating cost of MG, heavily constrained by demand supply balance.
Cost components include:
Production cost of back-up generators
Degradation cost of the centralized storage
Amount of generation curtailed
Amount of load curtailed
Discomfort penalty due to deviation from HVAC set point temperatures
Discomfort penalty due to deviation from DHW set point temperatures
Amount of imports or exports to the distribution grid i.e., following a spot price based contract

## Slide 8: Proposed framework and the case studies
Initial parameters of MG with weather
conditions of Helsinki:
No. of households = 50
PV capacity = 400kW
Wind power capacity = 400kW
DG capacity= 150kW
Capacity of interconnection = 100kW
BESS capacity = 200kWh
No. of scenarios = 27

## Slide 9: Input uncertain parameters
PV Production
Wind Power Production
Temperature

## Slide 10: Load profile and curtailments for islanded MG
Islanded MG without DR
Islanded MG with DR

## Slide 11: Grid-connected MG under DR activation

## Slide 12: Factors affecting the MG cost
Value of the lost load
No. of commitment hours of back-up generators
DR enrolment
Discomfort penalty imposed by households
Thermal comfort limits of households
Power ratings of DR loads
Building occupancy of the households

## Slide 13: Conclusions
MG offers the aggregation and control of distributed resources.
DR is a potential tool to maintain power balance in a MG at a small cost.
The cost associated with uncertainty is borne by the aggregator.
Bi-directional Power exchanges subjected to spot prices can be used to convert the operating cost into annual profit.

## Slide 14: Source material used
A. A. Bashir, M. Pourakbari-Kasmaei, J. Contreras and M. Lehtonen, ‘A novel energy scheduling framework for reliable and economic operation of islanded and grid-connected microgrids’, in Electric Power Systems Research, (2019).
A. A. Bashir, and M. Lehtonen, ‘Day-ahead rolling window optimization of islanded microgrid with uncertainty’, in IEEE PES Innovative Smart Grid Technologies Conference Europe (2018).
M. Ali, A. Safdarian and M. Lehtonen, ‘Demand response potential of residential HVAC loads considering users preferences’, in IEEE PES Innovative Smart Grid Technologies Conference Europe, (2014)
Finnish Meteorological Institute. Available online: https://en.ilmatieteenlaitos.fi/