## Slide 1: ELEC-E8423 - Smart Grid Power to gas applications
Meryem Capkan
Tuulia Kokkonen
07.02.2018

## Slide 2: Introduction
Chemical storage system
Converting electricity into hydrogen via electrolysis
A way to utilize the excessive energy from renewables
Countless applications

## Slide 3: The technology: electrolysis
Requirements for a good electroyzer:
High efficiency to avoid energy losses
Very low minimal load to allow stand-by
mode during low energy consumption
Ability to produce hydrogen at high
pressure to reduce energy demand and investment costs
Long lifetime and low investment costs

## Slide 4: Alkaline vs. PEM

## Slide 5: What can hydrogen be used for

## Slide 6: Active projects: Germany
Currently active (green):
12 projects producing hydrogen (circles)
4 projects producing methane (squares)
Mostly pilot projects
Check out:
http://europeanpowertogas.com/projects-in-europe/

## Slide 7: Application 1: Electric storage + mobility
Fuel cell -based technologies
Electric storage
  95 % RES needs 1,5 % storage
  1,3 TWh storage in Finland
    1 MWh Batcave
    530 MWh Pyhäsalmi mine
Fuel cell electric vehicles
  immature technology
  Advantages compared to EV:s
    Smaller battery needed
    Faster charging
    Longer range
  Disadvantages compared to EV:s
    Hydrogen is explosive
    No existing charging infrastructure
    Low efficiency (30%)
https://www.google.com/url?sa=i&source=images&cd=&ved=2ahUKEwjf_6y1_a_hAhWClIsKHWM-CtMQjRx6BAgBEAU&url=https%3A%2F%2Fwww.pfaffauto.com%2F2015%2F06%2F01%2Fa-look-ahead-toyota-fcv%2F&psig=AOvVaw3Q0aHFxZYU-QQ-3TO8f6Dc&ust=1554245370444855

## Slide 8: Application 2: Gas network & power to heat
Hydrogen straight fed to gas network
Methanation with CO2 -> methane fed to the network
  more energy dense
  CO2 utilized
  no limitations
First demonstration plants already operating

## Slide 9: Application 3: Raw material for industry
Hydrogen is used in chemical processes
Fluctuating input -> big storages needed
Referring to LCA chemical processes not the most efficient way of utilizing hydrogen

## Slide 10: Conclusions
Hydrogen is a versatile energy storage. Includes transportation sector and chemical industry to provide flexibility.
Long term storage with high energy density and low storage costs.
Major challenge: lack of infrastructure

## Slide 11: Sources
S. Schiebahn, T. Grube, M. Robinius et al. Power to gas: Technological overview, systems analysis and economic assessment for a case study in Germany. 2015.
Harri Junttila, 11.3.2019, Tekniikka & talous web page, https://www.tekniikkatalous.fi/tekniikka/autot/paljon-etuja-sahkoautoiluun-verrattuna-mutta-vety-tulee-hitaasti-liikenteeseen-6760584
Harri Junttila, 4.2.2019, Tekniikkka & Talous web page, https://www.tekniikkatalous.fi/kaikki_uutiset/hyundai-ei-luota-autoilussa-pelkkaan-sahkoon-panostaa-miljardeja-vetyyn-jo-toinen-tehdas-rakenteilla-6757122
Herib Blanco, André Faaij, 2018, A review at the role of storage in energy systems with a focus on Power to Gas and long-term storage, Renewable and Sustainable Energy Reviews, Volume 81, Part 1, 2018, Pages 1049-1086, ISSN 1364-0321.
L. Oliveira, M. Messagie, J. Mertens, H. Laget, T. Coosemans, J. Van Mierlo, 2015, Environmental performance of electricity storage systems for grid applications, a life cycle approach, Energy Conversion and Management, Volume 101, 2015, Pages 326-335, ISSN 0196-8904.
Gerda Gahleitner, 2013, Hydrogen from renewable electricity: An international review of power-to-gas pilot plants for stationary applications, International Journal of Hydrogen Energy, Volume 38, Issue 5, 2013, Pages 2039-2061, ISSN 0360-3199.
Hanna Säntti, 8.2.2018, Callio web page, https://callio.info/2017/wp-content/uploads/MustRead-8.2.2018.pdf.

## Slide 12: Questions