## Slide 1: ELEC-E8423 - Smart Grid Demand Response in HVAC loads
Tuomas Kallio
Sauli Sipilä
16.04.2019

## Slide 2: Introduction
Demand Response (DR) is one way to integrate intermittent renewable production to power system
DR is generally defined as timely shifting of loads from high power price hours to more affordable hours, or momentary changing of load to maintain balance between production and consumption
Heating, ventilation and air conditioning (HVAC) loads are considered most suitable for DR

## Slide 3: HVAC load potential
Small fluctuation in indoor temperature is undetectable, and moderate fluctuation is acceptable
    Depending on the source, usually ±1-2 C
Heating (or cooling) power set point does not instantly reflect to indoor temperature
    Part of the heat is stored to building mass

## Slide 4: HVAC load potential
In Finland, over 10 % of electricity is used to space heating and domestic hot water (DHW)
    Progress in HVAC DR impacts to the entire power system
Also DH networks provide a way to balancing the electrical grid
    Power-to-heat
    More efficient CHP production

## Slide 5: Downward and Upward potential of HVAC 1/2

## Slide 6: Downward and Upward potential of HVAC 2/2
Load reduction potential of simulated residential HVAC load (Spring)
Potential of HVAC load to function as a power sink (Spring)

## Slide 7: Implementation
Smart metering, advanced control system and two-way communication are required for implementation
Several business models have been developed for DR, but no unanimous opinion which is the best model to proceed with

## Slide 8: Conclusions
HVAC loads are most suitable for DR given the thermal inertia and acceptable temperature fluctuation
As a DR application HVAC loads have both upward and downward potential
DR can be a useful tool when dealing with VRES, but if considerable amounts of VRES are introduced to the power system, other means of load management are also needed

## Slide 9: Source material used
M. Ali, A. Safdarian, and M. Lehtonen. Demand response potential of residential HVAC loads considering users preferences. 2014. ISBN: 978-1-4799-7720-8.
Energiateollisuus. Energiavuosi 2018. 2019. Available: https://energia.fi/ajankohtaista_ja_materiaalipankki/materiaalipankki/energiavuosi_2018_-_sahko.html. Accessed 15.4.2019.
Suomen virallinen tilasto. Asumisen energiankulutus. ISSN: 2323-3273. Tilastokeskus. Available: http://www.stat.fi/til/asen/index.html. Accessed 15.4.2019.
Mubbashir Ali. Domestic Space Heating Load Management in Smart Grid: Potential Benefits and Realization. 2016. ISSN: 1799-4942.
N. Kampelisa, A. Ferranteb, D. Kolokotsaa, K. Gobakisa, L. Standardib, C.Cristalli. Thermal comfort evaluation in HVAC Demand Response control. 2017. DOI: 10.1016/j.egypro.2017.09.587.