## Slide 1: ELEC-E8423 - Smart Grid Battery Energy Storage Systems
Usama Riaz
Muhammad Sajjad
07.02.2018

## Slide 2: Introduction
Electrical power generation is changing dramatically around the word due to addition of renewable energy resources (RES).
Variable nature of RES makes its difficult to match generation with demand.
This mismatch posses threat to the stability of the system.
By taking the advantages of storage systems these problems can be minimized.

## Slide 3: Storage systems

## Slide 4: Battery Energy Storage Systems (BESS)
Integrating BESS in a power system offers enormous benefits.
BESS are well suited to support distribution system operators (DSO), neatly overcoming the challenges created by increasing distributed, fluctuating and uncertain generation from renewable energy sources (RES).
BESS as a storage unit in power systems offers a technological solution for improving power quality, reducing energy costs.
BESS technologies is a critical factor in stimulating self-usage of locally produced energy and improving the reliability of the supply system as a whole .
Grid efficiency and reliability, as well as power quality, can be increased using BESS.
Only barrier in the implementaation of BESS is the high initial cost.

## Slide 5: Types of Battery Storage Systems
If 1 KWh of Li-ion battery cost €400 and lasts 4000 cycles (11 years) and 1 kWh of energy without BESS costs 10 cents then with storage the cost of each unit of electricity is doubled
Previously it was more beneficial to build an additional power plant but nowadays battery prices are decreasing and no. of cycles are increasing with new technological developments
Types | Energy density Wh/kg | Self discharge per 24 hours | Life time | Cycle efficiencies
Li-ion | 75-200 | 0.1-0.3% | 5-15 | 90-97%
Lead-acid | 30-50 | 0.1-0.3% | 5-15 | 70-80%
Vanadium Redox flow | 10-30 | Less than 0.1% | 5-10 | 75-85%
Sodium Sulfur | 150-250 | Almost zero | 12-20 | 75-90%

## Slide 6: Role of BESS in Power Systems
Renewable Integration: Helps to cope with the intermittent nature of wind and solar. Allows increased penetration of RES in power systems
Frequency Regulation (Primary Control): The advantage of responding quickly to the frequency deviation makes BESS favorable resource for frequency regulation
Spinning Reserves: BESS can act as a spinning reserve in power systems which is discharged when the frequency is below predefined limit and charged when its above satisfactory limit
Transmission Relief: BESS can support loads locally to reduce the stress from transmission lines during peak hours
Voltage Regulation: BESS can support voltage in distribution system. This allows integration of RES and prevent converter tripping due to low voltages
Peak Load Shaving: BESS can be used for peak load shaving and power smoothing. BESS peak load shaving has proved to be economically feasible for peak load lasting less than 1 hour.

## Slide 7: BESS Peak Load Shaving
Notes: BESS is charged by base load generating plant during low demand hours of the day (night time). As the demand rises during the day, medium load generating plants take care of the supply. During peak demand hours, the energy stored in BESS is used to supply the load. Peaking plants for peak demand are eliminated from the system which only run for small duration

## Slide 8: The Architecture of BESS

## Slide 9: The Architecture of BESS
The BESS architecture consists of the following components
  Battery pack Number of battery cells connected in serial or parallel arrangement.
  Battery management system(BMS) BMS monitors, safeguard and maintain the optimal operation of each battery pack
  Converter electronic This part convert the DC output of a battery pack to AC power, and connect it to the grid.
  Supervisory system control Supervise the overall system.
  Communication ICTs are a useful tool for integrating BESS into power systems. The latency for communication between the utility and the BESS must be lower than the ramp rate of the BESS

## Slide 10: Current Situation
  Suvilahti electricity storage facility
    Helen is the first company in Finland to provide energy storage
    Connected to the Nordic electricity system
    Used as a part of Fingrid’s frequency-controlled operation and disturbance reserve and to optimize Suvilahti solar power plant
    The facility consists of 15,000 lithium-ion battery cells with the size of 12 x 2 x 2 metres. Its output is 1.2 megawatts and energy capacity 600 kWh. The project cost is about 2 Million euros
    The facility was manufactured in Italy, and was transported to Finland
  Tesla Li-ion Battery
    Tesla Inc switched on the world's biggest
    lithium ion battery in Austrila.
    Capacity: 129 MWh

## Slide 11: Conclusions
It is the need of the time to develop and use storage systems in power grid in order to incorporate increasing amount of RES
Power quality and system flexibility cannot be achieved without energy storage system
BESS is a solution to deal with the intermittent nature of RES
BESS can also support the grid in peak load shaving and frequency stability
Cost analysis should be performed before choosing BESS over an additional power plant

## Slide 12: References
M. T. Lawder et al., "Battery Energy Storage System (BESS) and Battery Management System (BMS) for Grid-Scale Applications," in Proceedings of the IEEE, vol. 102, no. 6, pp. 1014-1030, June 2014.
R. Hidalgo-León et al., "A survey of battery energy storage system (BESS), applications and environmental impacts in power systems," IEEE Second Ecuador Technical Chapters Meeting (ETCM), Salinas, 2017, pp. 1-6.
X. Luo, J. Wang and J. Clarke, “Overview of current development in electrical energy storage technologies and the application potential in power system operation,” Applied Energy, vol. 137, 2015.
https://www.ft.com/content/2ca27ee6-d634-11e7-8c9a-d9c0a5c8d5c9
https://www.helen.fi/en/news/2016/electricity-storage-facility/
https://philebersole.wordpress.com/2017/09/04/renewable-energys-mismatch-with-the-grid/