## Slide 1: ELEC-E8423 - Smart Grid Solar power generation variation and its modeling
Minna Lindroos
Mateusz Malewski
08.05.2018

## Slide 2: Introduction
The Sun is the main energy source on the Earth
Solar power in the grid:
the instantaneous power output of a PV system can vary substantially (depending on local meteorological conditions and system’s performance),
an intermittent type of renewable energy with high variability,
is dependent on factors we cannot control,
rising penetration of solar PV present a challenges with regard to grid voltage stability
Needs to be somehow estimated/modeled
There are two types of solar radiation (power generation) forecasting: long-term and short-term
All estimations are based on huge piles of historical data.
Solar power generation variation and its modeling

## Slide 3: The Sun - main energy source on the Earth
Energy of the Sun:
380 x 10^21 kW, 3.2 x 10^27 kWh/year,
Earth receives: 6000 x 10^10 kW,
Global energy use: 1.4 x 10^10 kW,
Solar power generation variation and its modeling

## Slide 4: Solar cell
Properties of Solar cells:
can be modelled with simple equivalent circuit where Jph defines amount of receiving solar radiation
Jd, Rsh, Rs depend on technical properties of the cell
operates according to I-V curve,
Isc, Voc and Pmax depend on ambient temperature,
so… the only variable while modeling the power generation is amount of receiving solar radiation and the ambient temperature,
Solar power generation variation and its modeling

## Slide 5: Solar radiation variation
Amount of the solar radiation the solar panel receives depends on the following variables:
incident angle (position of sun at the moment, position of the module),
shadowing (close environment, weather conditions),
ambient temperature,
dirt (cleaning frequency),
technical properties of the cell,
On top of that there are different types of solar radiation:
direct,
diffused,
reflected,
Solar power generation variation and its modeling

## Slide 6: Long - term forecasting
In long-term forecasting, the most common solution is to use a previously created model which calculates an average solar radiation yielded by the panel in specific week/day/hour (depending on the model). The following data is used in the long-term forecasting:
astronomical data (Sun declination, Earth-Sun distance),
surface data (elevation model, geoid model),
climate data (duration of solar radiation, transmission coefficients),
But usually models are based mostly on historical measurements of solar radiation in specific place. Below there is an example of a model created by Hannu-Pekka Hellman:
Solar power generation variation and its modeling

## Slide 7: Short - term forecasting
There are several methods used for solar radiation forecasting
forecasting methods of PV power production can be described as physically-based or statistical-based
The physical methods depend on using solar and PV forecast data
weather and PV system data, satellite and sky imagery observations of clouds
The statistical methods primarily rely on using historical data to train forecasting models
persistence predictions, similar day patterns, stochastic time series models, machine learning-based techniques
To assess short-term PV power production precisely, important factors which have a direct impact on the PV output should be considered
the most important factors are the cloud coverage and air temperature
The clear sky solar radiation models are traditionally used in the design and the simulation of solar concentration systems
Solar power generation variation and its modeling

## Slide 8: Conclusions
Solar radiation energy data and models are important for many areas of research and applications
Solar module output power is a mainly depend on solar radiation, temperature of the solar cell and the technical properties
  solar radiation and it changes is the most complex
Need for accurate forecasting
  planning the operations of photovoltaic systems
  in achieving power grid balance
Solar power generation variation and its modeling

## Slide 9: Source material used
Foad H. Gandoman, Shady H.E. Abdel Aleem, Noshin Omar, Abdollah Ahmadi, Faisal Q. Alenezi. 2018. Short-term solar power forecasting considering cloud coverage and ambient temperature variation effects.
Emre Akarslan, Fatih Onur Hocaoglu, Rifat Edizkan. 2018. Novel short term solar irradiance forecasting models
Hellman Hannu-Pekka, Koivisto Matti, Lehtonen Matti. 2014. Photovoltaic Power Generation Hourly Modelling
Klemen Zaksek, Tomaz Podobnikar. 2005. Solar radiation modelling
Power Thomas, Verbic Gregor. A nonparametric Bayesian Model For Forecasting Residential Solar Generation
V. Femin, M.I. Petra. 2016. Modeling the temporal variations in the output of large solar PV power plant
Can Ekici, Ismail Teke. 2018. Developing a new solar radiation estimation model based on Buckingham theorem.
Lalit Kumar, Andrew K. Skidmore. 1997. Modelling topographic variation in solar radiation in a GIS environment.
Solar power generation variation and its modeling