## Slide 1: Exercise Session 2
Power systems

## Slide 2: Question 1
A 220-kV overhead line has the following properties:
  s=200 km
  r=0.07 /km
  x=0.32 /km
  b=3.6 S/km
Define the parameters for medium-length line
-model
T-model
and calculate the open circuit voltage at the end of the line if the voltage at the beginning is 220 kV.

## Slide 3: Question 1
A 220-kV overhead line has the following properties:
  s=200 km
  r=0.07 /km
  x=0.32 /km
  b=3.6 S/km
Define the parameters for a medium-length line with the
-model
T-model
and calculate the open circuit voltage at the end of the line if the voltage at the beginning is 220 kV.

## Slide 4: Question 1 a) -model

## Slide 5: Question 1 b) T-model
Both models give the same result!

## Slide 6: Question 2
Calculate per-unit values for all the parameters in the picture above. Use base values: Sb=50 MVA and Ub=110 kV

## Slide 7: Question 2
Calculate per-unit values for all the parameters in the picture above. Use base values: Sb=50 MVA and Ub=110 kV

## Slide 8: Question 2
Sb=50 MVA
Ub=110 kV

## Slide 9: Question 3
Based on the results obtained from Question 2, calculate the voltage in busbar A (per-unit value and in volts).

## Slide 10: Question 3
Based on the results obtained from Question 2, calculate the voltage in busbar A (per-unit value and in volts).
~

## Slide 11: Question 3
~
Original base value
was in 110-kV level (the line)
The ”new ” base value
in 10.5-kV level (at point A). Note the reference over the transformer!

## Slide 12: Question 4
A 50-Hz, 50-MVA transformer with a 132-kV primary and a 33-kV secondary has a reactance of 0.1pu per phase. What is the reactance in ohms per phase:
referred to the primary;
referred to the secondary.

## Slide 13: Question 4
A 50-Hz, 50-MVA transformer with a 132-kV primary and a 33-kV secondary has a reactance of 0.1pu per phase. What is the reactance in ohms per phase:
referred to the primary;
referred to the secondary.

## Slide 14: Question 4
referred to the primary
b) referred to the secondary