## Slide 1: Exercise Session 3
Power systems

## Slide 2: Question 1
Transform load S=(200 + j150) kVA into equivalent resistance and reactance which are connected:
in series
in parallel
Voltage is 20 kV.

## Slide 3: Question 1: Transform load S=(200 + j150) kVA into equivalent resistance and reactance
Three-phase equivalent circuit:

## Slide 4: Question 1: Transform load S=(200 + j150) kVA into equivalent resistance and reactance
One-phase equivalent circuit:

## Slide 5: Question 1: Transform load S=(200 + j150) kVA into equivalent resistance and reactance
a) In series:
Note: Reactance takes inductive reactive power (Q > 0)

## Slide 6: Question 1: Transform load S=(200 + j150) kVA into equivalent resistance and reactance
b). In parallel:
Whole of the voltage is across resistance R and reactance X
Note: Reactance takes inductive reactive power (Q > 0)

## Slide 7: Question 2
A certain load curve can be presented with the following equation:
Calculate:
Annual energy
mean power for one year Pk
load factor
load duration time tk

## Slide 8: Question 2
a). annual energy

## Slide 9: Question 2
b). mean power for one year Pk

## Slide 10: Question 2
c). load factor
Load factor – the average load divided by the peak load in a specified time period

## Slide 11: Question 2
d). load duration time

## Slide 12: Question 3
active power losses Phmax and Phmin
reactive power losses Qhmax and Qhmin
energy losses Wh
At the end of a three-phase line the voltage is 20 kV. The line has following properties: resistance 0.8  and reactance 0.6  per phase. The load at the end of the line has a load duration curve as shown in the picture below. The power factor of the load is constant cos=0.8ind. Calculate:

## Slide 13: Question 3

## Slide 14: Question 3
a). active power losses Phmax and Phmin

## Slide 15: Question 3
b). reactive power losses Qhmax and Qhmin

## Slide 16: Question 3
c). energy losses Wh

## Slide 17: Question 4
The variation of load (P) with time (t) in a power supply system is given by the expression:
where t is in hours over a total period of one year.
This load is supplied by three 10-MW generators and it is advantageous to fully load machine before connecting the others.
Determine:
the load factor on the system as a whole;
the total magnitude of installed load if the diversity factor is equal to 3;
the minimum number of hours each machine is in operation;
the approximate peak magnitude of installed load capacity to be cut off to enable only two generators to be used.

## Slide 18: Question 4
a). Determine the load factor on the system as a whole:
Load factor – the average load divided by the peak load in a specified time period

## Slide 19: Question 4
a). Determine the load factor on the system as a whole:
=
where

## Slide 20: Question 4
a). Determine the load factor on the system as a whole:

## Slide 21: Question 4
b). The total magnitude of installed load if the diversity factor is equal to 3
Diversity factor - defined as the sum of individual maximum demands of the consumers, divided by the maximum load on the system. This factor measures the diversification of the load and is concerned with the installation of sufficient generating and transmission plant. If all the demands occurred simultaneously, that is, unity diversity factor, many more generators would have to be installed. Fortunately, the factor is much higher than unity, especially for domestic loads.
Diversity factor =

## Slide 22: Question 4
c). The minimum number of hours each machine is in operation:
This load is supplied by three 10-MW generators and it is advantageous to fully load machine
before connecting the others.
Generator 1 works all year long (in this problem)
Power, MW

## Slide 23: Question 4
c). The minimum number of hours each machine is in operation:
This load is supplied by three 10MW generators and it is advantageous to fully load machine
before connecting the others.
Generator 2 starts to work only when the load reaches over 10 MW
Power, MW

## Slide 24: Question 4
c). The minimum number of hours each machine is in operation:
This load is supplied by three 10MW generators and it is advantageous to fully load machine
before connecting the others.
Generator 3 starts to work only when the load reaches over 20 MW
Power, MW
Power, MW

## Slide 25: Question 4
c). The minimum number of hours each machine is in operation:
This load is supplied by three 10MW generators and it is advantageous to fully load machine
before connecting the others.
Generator 3 starts to work only when the load reaches over 20 MW
Power, MW

## Slide 26: Question 4
d). The approximate peak magnitude of installed load capacity to be cut off to enable two generators to be used:
2 Generators can deliver 20000 kW
If Diversity factor is 3, then ()
We would need to cut =64746-60000=4746 kW