## Slide 1: Exercise 5
Power systems

## Slide 2: Question 1
A symmetrical three-phase short circuit occurs on the 22kV busbars of the circuit shown as a one-line diagram in the figure below. Calculate the fault current and the fault apparent power.

## Slide 3: Question 1
x
g
x
t
1
x
l
x
t
2
Selecting base power
Drawing the equivalent circuit with reactances
Calculating Per Unit (p.u.) values for every component
Calculating the
Equivalent circuit:
Zk
Sn
Un2,t1
Note: this simplifies
calculation if
Un2,t1 = Un1,t2
Un1,t2

## Slide 4: Question 1
x
T
Selecting base power
Drawing the equivalent circuit with reactances
Calculating Per Unit (p.u.) values for every component
Calculating the
Name | Calculation | Reactance
Generator () |  | 0.6 p.u.
Transformer 1 (11/132) () |  | 0.3 p.u.
Transformer 2 (132/22) () |  | 0.4 p.u.
Line () |  | 0.092 p.u
Name | Calculation | Reactance
 |  | 0.6 p.u.
 |  | 0.3 p.u.
 |  | 0.4 p.u.
 |  | 0.092 p.u
++=1.392
x
g
x
t
1
x
l
x
t
2
Zk
Sn

## Slide 5: Question 1
Selecting base power
Drawing the equivalent circuit with reactance
Calculating Per Unit (p.u.) values for every component
Calculating the
Equivalent circuit:
X
T

## Slide 6: Question 2
Two 100-MVA, 20-kV turbo generators (each of transient reactance 0.2 pu) are connected, each through its own 100-MVA, 0.1 pu reactance transformer, to a common 132-kV busbar. From this busbar, a 132-kV feeder, 40 km in length, supplies an 11-kV load through a 132/11-kV transformer of 200 MVA rating and reactance 0.1 pu. If a balanced three-phase short circuit occurs on the low voltage terminals of the load transformer, determine, using a 100-MVA base, the fault current in the feeder and the rating of a suitable circuit breaker at the load end of the feeder. The feeder impedance per phase is (0.035+j0.14)/km.

## Slide 7: Question 2

## Slide 8: Question 2
Selecting base power
Drawing the equivalent circuit with reactance
Calculating Per Unit (p.u.) values for every component
Simplifying the circuit
Calculating the and
x
g
1
x
t
1
x
t
2
x
t
3
x
g
2
x
l
Equivalent circuit:
Calculating reactance of the line (feeder):
Line impedance Ω
Base impedance Ω
Per Unit value

## Slide 9: Question 2
3. Calculating Per Unit (p.u.) values for every component
4. Simplifying the circuit
5. Calculating the and
j0.2
Name | Calculation | Impedance
Generator 1() | 100 | j0.2 p.u.
Generator2() | 100 | j0.2 p.u.
Transformer1() | 100 | j0.1 p.u.
Transformer2() | 100 | j0.1 p.u.
Transformer3() | 200 | j0.05 p.u.
Line(feeder)() |  | 0.033 p.u.
Name | Calculation | Impedance
 |  | j0.2 p.u.
 |  | j0.2 p.u.
 |  | j0.1 p.u.
 |  | j0.1 p.u.
 |  | j0.05 p.u.
j0.2
j0.1
j0.1
0.033
j0.05
j0.3
0.0824
j0.3

## Slide 10: Question 2
4. Simplifying the circuit
5. Calculating the and
j0.15
Parallel:
j0.3
0.0824
j0.3
0.0824
0.232

## Slide 11: Question 3
A single line-to-earth fault occurs in a radial transmission system. The following sequences exist between the source of supply (an infinite busbar) of voltage 1 pu to the point of the fault: Z1 = (0.3+j0.6)pu, Z2 = (0.3+j0.55)pu, Z0 = (1+j0.78)pu. The fault path to earth has a resistance of 0.66 pu. Determine the fault current and the voltage at the point of the fault.

## Slide 12: Question 3 (W 7.8)
IS =0 (= IL2)
IT=0 (= IL3)
Inverse matrix also provides the same solution
Some background first
I0 =1/3 x (IR+0+0)
 IR=3 I0 (=IL1)

## Slide 13: Question 3
Generally:
Z
U1
U2
U0
From previous slide:
and IL1=3 I0
ZM
3ZM

## Slide 14: Question 3 (W 7.8)
in one-phase earth fault
=IL1

## Slide 15: Question 3
So we can utilize the following equations: