## Slide 1: ELEC-E8423 - Smart Grid Wind Power Generation Variation and Its Modelling
Tuomas Forsström & Heikki Valve
10.3.2020

## Slide 2: Introduction
"Wind energy has become the world’s fastest growing renewable energy source due to its environment friendliness and economic viability.”
"The prediction of wind speed is critical in the assessment of feasibility of a potential wind turbine site.”
"Wind speed is considered one of the most difficult meteorological parameters to forecast because of the interactions among other prominent weather forces such as temperature and pressure differences, topological surface conditions, as well as the Earth’s rotation.”
”Climate change changes also wind patterns and increases stagnant days.”
Millstein. (2019).
Blanchard, T & Samanta, B. (2019).

## Slide 3: Working Principle
Shokrzadeh et al. (2014).
Kinetic energy
Theoretical power
Capacity factor
Power curve

## Slide 4: Wind Speed Variation by Height and Location
https://www.globalwindatlas.info
Average speed.
Wind Speed at height of 10 m 100 m

## Slide 5: Effects of Wind Generation Variation
The variation in wind speed generation forces traditional fossil fuel plants to react fast to meet energy demand which effects the carbon emissions.
Ramp-up speed of combined gas plants is much higher than coal powered plants and also produce less emissions.
When investing in new wind turbines LCOE does not take account the time-varying value of energy, only the interest. So paradigm shift from producing cheapest electrons to highest value VRE plants over lifetime is needed.
Dorsey-Palmateer. (2019).
Simpson et al. (2020)

## Slide 6: Intermittency
SBC Energy Institute. (2014).

## Slide 7: Forecasting
Wind speed forecasting in the order of seconds to minutes is used to control the operation of a wind turbine
Forecasting in the order of hours addresses the problem of scheduling wind power generation with the energy system
Forecasting in the order of days enables maintenance and resource planning for the wind power operator
Picture:
https://www.nord-lock.com/it-ch/insights/customer-cases/2016/the-wind-turbine-time-machine/
Blanchard, T & Samanta, B. (2019).

## Slide 8: Wind Speed Forecasting & Machine Learning
Machine learning and neural networks are a hot topic in the field of wind speed forecasting
Wind speed data is a collection of time series, which contain numerous transient periods and a high degree of variation or disparity. This makes time series difficult to approximate with non-linear models.
Artificial neural networks (ANNs) outperform other types of models because of their ability to model non-linear datasets
Models using machine learning constantly learn, providing increasingly good results
Blanchard, T & Samanta, B. (2019).

## Slide 9: Conclusions
Wind speed forecasting is crucial for the economic operation of a wind turbine site.
Wind speed changes according to numerous factors including climate change, and its prediction gets increasingly difficult as the time span increases.
LCOE doesn't take time-variance of energy's value into account. A paradigm shift is needed in order to move from the cheapest possible wind power generation to generation, with the highest value over the lifetime of a wind turbine site.

## Slide 10: References
Blanchard, T & Samanta, B. "Wind speed forecasting using neural networks". Wind Engineering. Vol. 44, 33-48. 2019.
Dorsey-Palmateer, R. ”Effects of Wind Power Intermittency on Generation and Emissions”. The Electricity Journal, Vol. 32, 25 – 30. 2019.
Millstein, D. et al. “Wind Energy Variability and Links to Regional and Synoptic Scale Weather”. Climate Dynamics, Vol. 52, 4891 – 4906. 2019.
SBC Energy Institute. Analysis based on 50 Hz Data (Wind and Solar Actual In Feed 2012, Control Load 2012). 2014.
Shokrzadeh, S. et al. “Wind turbine power curve modeling using advanced parametric and nonparametric methods”, IEEE Trans. Sustain. Energy, Vol. 5 (4), 1262-1269. 2014.
Simpson, J. et al. “Cost of Valued Energy for Design of Renewable Energy Systems”. Renewable Energy, Vol. 153, 290-300. 2020.
Söder, L. et al. "Review of wind generation within adequancy calculations and capacity markets for different power systems". Renewable and Sustainable Energy Reviews, Vol. 119. 2020.