## Slide 1: ELEC-E8423 - Smart Grid Electrical energy use in residential buildings, flexibility and DR potential of different energy uses
Abbasi Mohammad
14.03.2023

## Slide 2: Introduction
Demand response
Residential electricity consumption
DR potential of different energy uses
DR programs
Challenges
Conclusions

## Slide 3: Demand Response (DR)
What is DR? (Definition by the European Commission)
voluntary changes by end-consumers of their usual electricity use patterns – in response to market signals (such as time-variable electricity prices or incentive payments) or following the acceptance of consumers' bids (on their own or through aggregation) to sell in organized energy electricity markets their will to change their demand for electricity at a given point in time. [1]
Why DR?
To maintain power balance: Traditionally, supply is adjusted to match demand using capacity reserves.
An alternative approach is to adjust demand to match supply by using the potential of demand-side resources.

## Slide 4: Demand Response (DR)
Benefits [2,3]
Grid
  Efficiency
  Reliability
Economic
  Lower price of electricity
Environmental
  Reducing greenhouse gases emissions

## Slide 5: Residential Electricity Consumption
Chart: 
| Heating of spaces | Household appliances | Heating of saunas | Heating of domestic water
 | 0.47102 | 0.37684 | 0.05082 | 0.10131
47.10 % 37.68 % 5.08 % 10.13 % | 11428 | 9143 | 1233 | 2458
Finland Household Electricity Consumption in 2021 [4]
 | GWh | Share
Heating of spaces | 11,428 | 47.10 %
Household appliances | 9,143 | 37.68 %
Lighting | 1,482 | 6.11 %
Cooking | 790 | 3.26 %
Other electrical equipment | 6,871 | 28.32 %
Heating of saunas | 1,233 | 5.08 %
Heating of domestic water | 2,458 | 10.13 %
Total | 24262 | 

## Slide 6: Load Categorization Based on DR [5]
1. Non-controllable loads 3. Interruptible loads
2. Re-parameterizable loads 4. Shiftable loads
Figure. Load categorization according to its degree of control and annual electricity consumption, data from Portugal

## Slide 7: An Example: HVAC Potential [6]
(a) global thermal zone temperature reset; (b) pre-cooling
Figure. Response characteristics of HVAC loads

## Slide 8: DR Potential of Residential Loads and Future [7]
Flexible Loads Annual Electricity Consumption in Nordic Countries
Impact of DR Categories in 2030 and 2050 in Nordic Countries

## Slide 9: DR Programs
DR schemes [8,9] :
Figure. Time varying price schemes
Time-of-Use (ToU)
Critical-Peak Pricing
Real-Time-Pricing
Type of control [10]:
  Centralized
  Distributed
  Hierarchical
Price-based:
  Time-of-use
  Critical Peak Pricing
  Real Time Pricing
Incentive-based:
  Critical Peak Rebate
  Direct Load Control

## Slide 10: Challenges [9]
Familiarity and trust:
Unfamiliarity with demand response and concerns around privacy and autonomy can contribute to mistrust.
Modeling customers’ behavior and participation:
User routines and could influence their participation in DR.
Complexity and effort to respond and shift demands:
The level of complexity and effort associated with demand response can affect consumer engagement.

## Slide 11: Conclusions
Demand response is voluntary changes by end-consumers of their usual electricity use patterns, according to the DR schemes.
Residential loads have great potential for DR, and the degree of control reveals the potential of different energy use for DR.
DR in residential buildings faces challenges such as trust and complexity and effort.

## Slide 12: Source material used
[1] Incorporating demand side flexibility, in particular demand response, in electricity markets, EuropeanCommission, 2013. [Online]. Available: https://energy.ec.europa.eu/system/files/2014-10/com_2013_public_intervention_swd07_en_0.pdf
[2] M. S. Behera and S. K. Jain, "A review on different techniques of demand response management and its future scopes," in 2021 International Conference on Control, Automation, Power and Signal Processing (CAPS), 2021: IEEE, pp. 1-8.
[3] P. Pinson and H. Madsen, "Benefits and challenges of electrical demand response: A critical review," Renewable and Sustainable Energy Reviews, vol. 39, pp. 686-699, 2014.
[4] Energy consumption in households - Statistics Finland. [Online]. Available: https://stat.fi/en/statistics/asen
[5] A. Soares, Á. Gomes, and C. H. Antunes, "Categorization of residential electricity consumption as a basis for the assessment of the impacts of demand response actions," Renewable and Sustainable Energy Reviews, vol. 30, pp. 490-503, 2014.
[6] Z. Luo et al., "Demand flexibility of residential buildings: definitions, flexible loads, and quantification methods," Engineering, 2022.
[7] J. Kirkerud, N. O. Nagel, and T. Bolkesjø, "The role of demand response in the future renewable northern European energy system," Energy, vol. 235, p. 121336, 2021.
[8] H. T. Haider, O. H. See, and W. Elmenreich, "A review of residential demand response of smart grid," Renewable and Sustainable Energy Reviews, vol. 59, pp. 166-178, 2016.
[9] B. Parrish, P. Heptonstall, R. Gross, and B. K. Sovacool, "A systematic review of motivations, enablers and barriers for consumer engagement with residential demand response," Energy Policy, vol. 138, p. 111221, 2020.
[10] D. S. Callaway and I. A. Hiskens, "Achieving controllability of electric loads," Proceedings of the IEEE, vol. 99, no. 1, pp. 184-199, 2010.