## Slide 1: Exercise Session 1
Power systems

## Slide 2: Question 1
  Show that the ratio of phase-to-phase-voltage and phase-to-earth-voltage is

## Slide 3: Question 1 Show that the ratio of phase-to-phase-voltage and phase-to-earth-voltage is
120°
120°
120°
30°
30°
120°
120°
120°
30°
30°
120°

## Slide 4: Question 1 Show that the ratio of phase-to-phase-voltage and phase-to-earth-voltage is
120°
120°
120°
30°
30°
120°
by Sine Rule:

## Slide 5: Question 2
Derive the equation for delta-star transformation.

## Slide 6: Question 2 Derive the equation for delta-star transformation
The power lost to resistance must remain unchanged

## Slide 7: Question 3
A delta-connected three-phase load of (80+j60)  per phase is connected to a 440-V three-phase supply. Calculate:
the current in the load component
the current in the phase of power line
the total real power consumed (active power).

## Slide 8: Question 3 a) Current in the load component
In delta connected load, the voltage across the load component is line voltage, i.e. phase-to-phase voltage:
And the current
flowing through the load is
Iphase, power system

## Slide 9: Question 3 b) Current
For Δ-connected load, current in power line is times the current in load
Option 2) Solution using delta-star-transformation
Iline
Iline=Iphase

## Slide 10: Question 3 c) Active power
Ipower line
Ipower line=Iphase
Triple check…

## Slide 11: Question 4
A star-connected load consisting of a resistor of 80  and and inductor of 0.191 H in each phase is connected to a 415-V, three-phase, 50-Hz supply. Calculate:
the phase current I;
the real power P consumed by the load; and
the reactive power Q consumed by the load.
From P and Q calculate the load phase angle , and show that:

## Slide 12: Question 4
Inductor:
Lagging current (inductive load)
Use of reactance (ind)
“Generation” of reactance (cap)
Consumption
Generation
=I*
a)
b)
c)
d)