## Slide 1: Exercise Session 4
Power systems

## Slide 2: Question 1
Calculate the maximum active power Pmax that can be transferred from busbar 1 to busbar 2 using the voltages shown in the picture.

## Slide 3: Question 1
The equivalent scheme of the line, using reactances for P.U. computation.
Selecting:

## Slide 4: Question 1
Selecting:

## Slide 5: Question 1
The highest power that can be transmitted:
Maximum value when:
Power-angle equation:

## Slide 6: Question 2
The power that can be transferred by a line is, usually, limited by the reactive power resources. A line has a series reactance X=100  and the voltage at the beginning of the line is U1=115 kV. The reactive power at the end of the line is Q2=0. Derive the expressions for power transferred and reactive power Q1 as the function of voltage angle . How much smaller is the maximum transferred power compared to a case where the necessary reactive power could be fed to the end of the line?

## Slide 7: Question 2
Power-angle equation:

## Slide 8: Question 2
δ) = 2 sin(δ)cos(δ)

## Slide 9: Question 2

## Slide 10: Question 3: (for help, see Power System Analysis by Grainger, ch. 16 or other book)
A generator having H = 6.0 MJ/MVA is delivering power of 1.0 per unit to an infinite bus through a purely reactive network when the occurrence of a fault reduces the generator output to zero. The maximum power that could be delivered is 2.5 per unit. When the fault is cleared, the original network conditions again exist. Determine the critical angle and critical clearing time.
Hint: For clearing time, H= Wk/P & Wk = J if using equation from lecture slides

## Slide 11: Question 3: critical clearing angle
P
δ
2.5
1
A1
A2
A1 = A2, Stability Criterion
Pi

## Slide 12: Question 3: critical clearing time
P
δ
2.5
1
A1
A2
Pi
From lecture slides
Multiply by 4 and
Divide by ω

## Slide 13: Question 4
A 60-Hz generator is supplying 60% of Pmax to an infinite bus through a reactive network. A fault occurs which increases the reactance of the network between the generator internal voltage and the infinite bus by 400%. When the fault is cleared, the maximum power that can be delivered is 80% of the original maximum value. Determine the critical clearing angle for the condition described.

## Slide 14: Question 4: (for help, see Power System Analysis by Grainger, ch. 16 or other book)
Power-angle curve A before a fault, B during the fault, and C after the fault such that A = Pmax sin δ, B =k1A, and C = k2A, with k1 < k2. For stability, we must have area A1 = area A2.
Note: picture illustrative - not from the problem

## Slide 15: Question 4: Determine the critical clearing angle
In our case:
Before the fault:
During the fault:
After the fault:

## Slide 16
A = Pmax sin δ, B =k1A, and C = k2A.
For stability, we must have area A1 = area A2.
Question 4: Determine the critical clearing angle

## Slide 17
Using the previously derived equations:
Question 4: Determine the critical clearing angle