## Slide 1: Exercise 7
Power systems

## Slide 2: Question 1
In the middle of the line there is a zero resistance three-phase short circuit. What is the voltage at the fault location prior to the fault? Calculate
sub-transient
transient
steady state
short-circuit current.

## Slide 3: Question 1 What is the voltage at the fault location prior to the fault?
Let’s calculate the voltage Uf with the help of given information: P , U, power factor
and steady-state reactances:
Xg
I
Xt
Xline/2
Xline/2
Xk
First, calculate the current flowing through each component:
Generator:

## Slide 4: Question 1 What is the voltage at the fault location prior to the fault?
Next, the reactance values as seen from the line (110-kV level):
Xg
I
Xt
Xline/2
Xline/2
Xk

## Slide 5: Question 1 What is the voltage at the fault location prior to the fault?
The fault voltage is the grid voltage plus voltage over Xk and half of the line (Xline/2)
Xg
I
Xt
Xline/2
Xline/2
Xk

## Slide 6: Question 1 a) Calculate sub-transient currents (from the grid and from the generator)
The subtransient reactances are:
X’’g
Xt
Xline/2
Xline/2
X’’k

## Slide 7: Question 1 b) Calculate transient currents (from the grid and from the generator)
The transient reactances are:
X’g
Xt
Xline/2
Xline/2
X’k

## Slide 8: Question 1 c) Calculate steady-state currents (from the grid and from the generator)
Xg
Xt
Xline/2
Xline/2
Xk

## Slide 9: Question 2
Starting from the power-angle equations, define the maximum line reactance X so that the power plant can feed its full active power PN without exceeding the maximum apparent power SN. Voltage of the transmission network is constant U2 = 410 kV and it doesn’t consume any reactive power, that is Q2 = 0.

## Slide 10: Question 2 Define maximum line reactance
Xt
X
Resistances are neglected:
U2=410kV
Q2=0 var

## Slide 11: Question 2 Define maximum line reactance
Xt
=25.2Ω
X
U2=410kV
Q2=0 var

## Slide 12: Question 2 Define maximum line reactance
1
3
2
Maximum reactance:

## Slide 13: Question 3
A synchronous generator is synchronized through a transformer to a bus.
At the bus, the short circuit power is 1000 MVA and the voltage is 115 kV.
After synchronizing, the generator’s power is increased to 100 MW without changing the excitation.
Calculate the generator’s terminal voltage Ug and reactive power Q.
When synchronizing, the voltages of the generator are first tuned to same frequency,
amplitude and phase order as in power system. Then connecting switch is then closed.
At this moment the generator internal emf, terminal voltage and system bus V are same.

## Slide 14
Selecting base values:
Question 3 generator’s terminal voltage Ug and
reactive power Q.
xg
=1.0
xgrid
=0.2
xt
=0.1
We get:
grid

## Slide 15
When connecting to the grid:
Question 3 generator’s terminal voltage Ug and
reactive power Q.
If magnetizing is not changed after the synchronization, the generator emf stays the same:
φi
jxtoti
egrid
eg
δ
i
egrid
eg
δ
i
1
δ
i
1
φi
xg
=1.0
xgrid
=0.2
xt
=0.1
Current leading load voltage  capacitive load

## Slide 16
Question 3 generator’s terminal voltage Ug and
reactive power Q.
xg
=1.0
xgrid
=0.2
xt
=0.1

## Slide 17
Question 3 generator’s terminal voltage Ug and
reactive power Q.
xg
=1.0
xgrid
=0.2
xt
=0.1
Generator terminal voltage is:

## Slide 18
Question 3 generator’s terminal voltage Ug and
reactive power Q.
xg
=1.0
xgrid
=0.2
xt
=0.1
Voltage at the station is:
Reactive power flowing to the grid:
φ
φu_grid
i
ugrid
φi

## Slide 19: Question 4
For the transmission system shown in the picture, calculate generator’s load current and terminal voltage
by reducing the network to generator’s voltage level
by using per-unit values

## Slide 20: Question 4 a) at generator voltage level
System reactances seen from the generator:
Transformer 1:
Line:
Transformer 2:
Xt1
Xt2
Xj
20/415kV

## Slide 21: Question 4 a) current and voltage at generator
Let’s choose:
Current at
Generator:
Xt1=
0.143Ω
Xt2=
0.117Ω
Xj=
0.07Ω
Un = 20 kV
Jump over transf.2 and tranfs.1
Current at grid:
20/415kV
grid

## Slide 22: Question 4 a) current and voltage at generator
Grid voltage seen from the generator:
Generator terminal voltage:
Xt1=
0.143Ω
Xt2=
0.117Ω
Xj=
0.07Ω
Un = 20 kV
20/415kV

## Slide 23: Question 4 b) per unit approach
Let’s choose base power:
and base voltage level at line between the transformers:
The transformer ratios determine the other base voltages.
20-kV level:
110-kV level:
20/415kV
20/415kV
20-kV level
110-kV level
400-kV level

## Slide 24: Question 4 b) per unit approach
20/415kV
20/415kV
20-kV level: has only generator Xd. Not needed because we are calculating generator terminal voltage which already includes voltage drop caused by Xd.
400-kV level:
20-kV level
110-kV level
400-kV level
Generator:

## Slide 25: Question 4 b) per unit approach
20/415kV
20/415kV
110-kV level:
20-kV level
110-kV level
400-kV level

## Slide 26: Question 4 b) per unit approach
20/415kV
20/415kV
xt1=
0.154
xt2=
0.126
xj=
0.075