## Slide 1: Modelling and Control of Water and wastewater treatment processes WAT - E2130 Project work instructions
Anna Mikola TkT D Sc (Tech)

## Slide 2: Topics for project work
Topic number | Modelling task | Control task
1 Ha | Effect of oxygen concentration in the bioreactor on removal performance and on energy demand | DO controller strategy based on ammonium concentration
2 Alexis | Effect of primary clarifier by-pass on removal performance and on energy demand | Control strategy based on NO3 for primary clarifier by-pass flow
3 J-C | Effect of storm flow by-pass of bioreactor on the solids wash-out from the secondary clarifier | By-pass control based on effluent solids concentration or an alternative strategy
4 | Side-stream reject water treatment | Side-stream process control e.g. based on DO
5 Markus | Effect of internal nitrate recycle on total nitrogen removal | Effect of nitrate recirculation control on the effluent quality and operational costs

## Slide 3: Topics for project work
Topic number | Modelling task | Control task
6 Oula | Effect of pre-precipitation | Define and simulate a coagulant dosing control based on influent flowrate (or effluent phosphate)
7 Irene | Effect of intermittent nutrient rich influent (e.g. simulation a reject water load) | Control strategy for reject water pumping
8 Artem | By-pass flow treatment in disc filters | Coagulent dosing control based on effluent PO4-P
9 Elena | Post-denitrification treatment | Control of methanol dosing into post-DN
10 Talvikki | Biological phosphorus removal process solution | Recycle flow control based on PO4-P

## Slide 4: Topics for project work
Topic number | Modelling task | Control task
11 | Digester model | Raw sludge control
12 Anne | The effect of sludge age in activated sludge process | Control strategy for sludge age based on temperature
13 | Tertiary sand filter for P polishing | Control of tertiary treated flow based on effluent quality
 | Your own ideas | Your own ideas

## Slide 5: Presentation
15 minutes
Content:
  Objective of the modelling and control
  Model structure/control strategy
  Simulated conditions
  Main results
  Benefits of modelling/control
  Challenges in practical implementation of modelling/control approach

## Slide 6: Written report
5 – 10 pages
Content:
  Objective of the modelling/control
  Model structure/control strategy
  Simulated conditions
  Main results
  Benefits of modelling/control
  Challenges in practical implementation of modelling/control approach